[image: image1.wmf] 

ADDENDUM #3

  401 Webbs Mills Road

Raymond, Maine 04071
207.655.4742

655-3024 (Fax)


_______________________________________________________________

PRIVATE ROAD STANDARDS 

FOR RECYCLING AND WASTE SERVICE

1. Layouts of roads – must meet or exceed the following standards.

a. All private roads must have 4 or more year round residents.

b. Have a year round road association representative and/or contract person name and phone number on file at the Town Office.

c. Have a signed release of Liability Waiver on file at the Town Office.

2. Design and construction standards – All roads shall meet or exceed the following standards.

a. Minimum drive surface width of 10 feet

b. Minimum overhead clearance of 14 feet

c. Minimum overall cleared width of 12 feet, (trees, rocks utility poles and any other objects that may narrow roadway for safe passage).

d. Dead end roads will not be permitted without a suitable turn around of a width of 20 feet and depth of 30 feet.

e. Gravel roads must be able to support heavy vehicles year round.

3. Road maintenance

a. Gravel roads must be graded as needed

b. Roads must be plowed and sanded

c. Snow banks must be kept back to meet the minimum road width criteria [see above].

d. Turnaround must be kept cleared and vacant year round

e. Access points of roads must be 20 feet in width with visual clearance of 100 feet on both sides.

� EMBED Word.Picture.8  ���








[image: image2.wmf] 

_1126508203.doc
[image: image1.png]: N\ OHF
Y
= =1
n

Home of the Landlocked Salmo

| |INCORPORATED1803| |








